## Sheet1
MANUFACTURING BOM – Prototype as built
ITEM | DESCRIPTION | PART NUMBER | QTY | UNIT COST | NZ SUPPLIER | PRICE (NZD) | Price (USD) | Supply industry
1 | 25mm BSP Female Tee | (T25F) | 3 | 2.97 | The Water Sprinkler Shop | 8.91 | 5.346 | Irrigation/plumbing
2 | 25mm BSP Female Elbow | (7208/25) | 2 | 2.25 | The Water Sprinkler Shop | 4.5 | 2.7 | Irrigation/plumbing
3 | 25mm BSP Male Nipple | (NP-25) | 6 | 0.91 | The Water Sprinkler Shop | 5.46 | 3.276 | Irrigation/plumbing
4 | 12V 25mm normally closed solenoid valves | (SV25-12) | 2 | 30.36 | The Water Sprinkler Shop | 60.72 | 36.432 | Irrigation/plumbing
5 | 25x15mm Reducing Bush | HRB2515 | 4 | 1.77 | Irrigation Express | 7.08 | 4.248 | Irrigation/plumbing
| Tank fittings | HTFFT25 | 4 | 7.41 | Irrigation Express | 29.64 | 17.784 | Irrigation/plumbing
6 | Solenoid valve, EVR 6 - normally open | 032L8085 | 1 | 72.5 | Philip Smith | 72.5 | 43.5 | Electrical supplies
7 | Solenoid coil, BE230AS | 018F6701 | 1 | 72.5 | Philip Smith | 72.5 | 43.5 | Electrical supplies
8 | 22mm hose fitting (hospital fittings) | PVC-30-1016 | 1 | 3.82 | Irrigation Express | 3.82 | 2.292 | Irrigation/plumbing
9 | HEPA filter material Grade …? | 8-16/9W4P | 2 | 1.9 | Irrigation Express | 3.8 | 2.28 | Irrigation/plumbing
10 | O2 Sensor | AFR722-EE26 | 1 | 93 | Repco | 93 | 55.8
11 | Temp/Humidity sensor | DHT12 | 1 | 11.9 | Jaycar | 11.9 | 7.14 | Electronic supplies
12 | Digital barometric pressure sensor | BMP180 | 2 | 22.9 | Jaycar | 45.8 | 27.48 | Electronic supplies
13 | Raspberry Pi 3B+ | 3B+ | 1 | 17.9 | Jaycar | 17.9 | 10.74 | Electronic supplies
14 | Raspberry Pi shield and ADC | XC9050 | 1 | 99.9 | Jaycar | 99.9 | 59.94 | Electronic supplies
15 | Raspberry Pi GPIO expansion | XC9040 | 1 | 17.9 | Jaycar | 17.9 | 10.74 | Electronic supplies
16 | Relay board 4 ch 12v | XC4419 | 1 | 16.9 | Jaycar | 16.9 | 10.14 | Electronic supplies
17 | Battery SLA 12v 6Ah | SB2485 | 1 | 36.9 | Jaycar | 36.9 | 22.14 | Electronic supplies
18 | DC-DC voltage regulator (variable) | XC4514 | 1 | 10.9 | Jaycar | 10.9 | 6.54 | Electronic supplies
19 | Fuelmiser Air Flow Sensor | VDO - CAF034 | 1 | 252.75 | Repco | 252.75 | 151.65 | ?
|  |  |  | Total cost |  | 872.78 | 523.668