Manawa Ora software

## Overview and user guide

The Manawa-Ora codebase comprises two parts:

1. The User Interface software that allows the user to read and control the ventilator using a web browser. The browser can be on a tablet or central PC
2. The code on the mini-computer inside the ventilator is written using python. The software starts automatically and the normal user does not have to do any setup.

The user interface is shown below:

The operator can modify settings using the menu in the left panel. Resulting ventilation graphs and readings are shown in the centre and right hand panels.
# Installation
To install the ventilator for the first time the cabinet must be opened and an ethernet cable attached to the controller and a facility IT professional must assign the computer a static IP address: a ventilator ID should (preferably) be given as the machine hostname.

To install the User Interface software:

 - The device browser, on a tablet or PC, needs to point to the IP address or hostname.