## Sheet1
Function	Tag	Instrument	I/O	PI address	Bus	PI Terminal
Inlet pressure / temperature	PT-011				I2C-1
Temp / humidity sensor	HT-011
Outlet pressure / temperature	PT-021				I2C-4
Air flow	FT-011		analogue in		A-D card
Oxygen level	OT-011		analogue in
Inlet valve	SV-011	R1 relay board	digital out
Oxygen valve	SV-012	R2 relay board	digital out
Outlet valve	SV-021	R3 relay board	digital out